MARKET DRAYTON TOWN COUNCIL

## INVITATION TO TENDER

Town Park Play Area Extension and Refurbishment

INSTRUCTIONS AND DETAILS OF CONTRACT

TOWN PARK PLAY AREA EXTENSION AND REFURBISHMENT

SUMMARY INSTRUCTIONS AND DETAILS OF CONTRACT

| ITEM | CONTRACT DETAILS |
| --- | --- |
| Contract Description: | Market Drayton Town Council invites suitably qualified and experienced contractors to submit tenders for the extension, refurbishment of equipment and installation of new equipment the Town Park Play Area • Installation of new fencing and gates • Removal and reinstatement of existing fencing • Installation of new tarmac pathways • Removal of existing pathways and reinstatement of grassed areas • Refurbishment of existing play equipment • Removal and disposal of obsolete play equipment • Supply and installation of new play equipment Maximum Budget £90,000 The Contractor shall be deemed to have satisfied itself before submitting its tender as to the accuracy and sufficiency of the rates and prices stated in the tender which shall (except in so far as is otherwise provided in the Contract) cover all the Contractor’s obligations under the Contract and the Contractor shall be deemed to have obtained for itself all necessary information as to risks and any other circumstances which might reasonably influence or affect the Contractor’s tender. |
| Insurance Requirements: | Certificates to be provided |
| Contract Start Date | September 2026 |
| Site Address | Town Park, Manor Gardens, Market Drayton, TF9 3AY |
| Procuring Officer: | Miss S Thomas Town Clerk Market Drayton Town Council 18, Frogmore Road Market Drayton Shropshire. TF9 3AX Email: Townclerk@marketdrayton.gov.uk Tel: 01630 653364 |
| Submission instructions: | Send the tender document and plans in envelope marked “Tender-Strictly Confidential –Town Park Play Area – to be opened by addressee only”. The envelope must bear no name or other distinguishing matter or mark revealing the identity of the sender. All other supporting document |
|  | All other supporting documents can be posted or emailed to townclerk@marketdrayton.gov.uk. |
| Tender document to be sent to: | Town Clerk, Market Drayton Town Council, 18, Frogmore Road, Market Drayton, Shropshire. TF9 3AX. |
| Date and time for the tender return | No later than noon on the 2nd July 2026 |

## TIMETABLE

This timetable is indicative only. The Council reserves the right to change it at its discretion.

| Stage | Date(s)/time |
| --- | --- |
| Issue of Invitation to Tender | Week commencing 17 May 2026 |
| Submission of Tenders deadline | By noon on 2 July 2026 |
| Evaluation period |  |
| Notification of Award | Week commencing 2nd August 2026 |
| Anticipated start date | September 2026 |
| Anticipated Completion date | October 2026 |

The Council reserves the right to amend this timetable

*agreed ‘snaggings’ and season dependent installation/re-instatement will be permitted after this deadline at discretion of the Town Clerk

- Scope of Works

2.1 Fencing

The contractor shall:

-	Remove approximately 23m of existing bow top fencing.

- 	Make good all surfaces following removal works

- 	Supply and install approximately 55m of fencing, reusing fencing where possible, blending old and new.  New fencing to be 1200mm high Bow Topped powder coated either multi-colour to match existing or green.

-	The new bow top fencing to be installed as per attachment A.

-	To remove approximately 10m of bow top fencing at the rear of the play area.

-	To reinstall approximately 5 m of bow top of fencing reusing the existing fence.

2.2. Path

The contractor shall:

-       Remove approximately 30m x 2m of existing tarmac path.

- 	Reinstate removed pathway area with turf.

-	Construct approximately 55m of new pathway, with concrete enging, around the outside of the fence. The pathway to be 2 mtrs wide.

-	Ensure the new path forms a smooth curved transition linking to the new pathway to the existing pathway

2.3. Gate

The contractor shall:

- 	supply and to install a new pedestrian access gate approx. 1200 wide, gate c/w hydraulic self-closing, non-slamming hinges along the new boundary fence.

- 	ensure gate installation complies with all relevant playground safety standards.

2.4 Refurbishing Current Equipment

The contractor shall:

- Repair and repaint the existing slide unit.

- Convert swing barriers into sensory play panels.

- Repaint the existing swings

- Undertake all refurbishment works using durable, child-safe materials and coatings.

2.5  Items to be removed

- The two rockers and all associated foundations or footings

All waste disposal shall comply with all relevant environmental legislation

2.6 . Existing Equipment to Remain

- The existing roundabout to remain in situ and is excluded from works

The Contractor shall ensure all retained equipment is protected during construction works.

2.7. New Equipment

The Contractor shall:

- To supply a minimum of  6 new pieces of play equipment:

- one see saw to replace the current rockers.

- One piece of equipment on the concrete to be installed on wetpour

- one goalpost on the grassed area by the hedge.

- A minimum of 3 pieces of equipment with suitable safety flooring.

- To mark some floor level games/visuals on the tarmac.

- Ensure new equipment complements the existing play provision

- Provide inclusive and accessible play opportunities for children 8 years and under.

- Include all associated safety surfacing, foundations, fixings, and installation works.

- Provide product specifications, warranties, and maintenance information with the tender submission

The above list of play equipment is suggestive and can be changed by the Contractor if required.

2.8  Signage

The Contractor shall provide and install all required safety and operational signage in accordance with current standards and regulations.

3. Site Constraints and Contractor Responsibilities

Tenderers should note:

- Underground services may be present within the site

- Contractors are responsible for locating and protecting services before works commence

- Tree roots must be protected during excavation and fence installation

- The Contractor shall reinstate any disturbed ground or damaged areas

- All waste materials, including removed tarmac and equipment, shall be removed from site and lawfully disposed of

- Site access is restricted due to entrance geometry

Tenderers are strongly encouraged to undertake a site visit before submission.

4.  Standards and Compliance

All works shall comply with:

- BS EN 1176

- BS EN 1177

- BS 1722

- Health and Safety at Work etc. Act 1974

- CDM Regulations 2015

- Equality Act 2010

- All relevant British Standards and Codes of Practice

An independent post-installation inspection by a suitably qualified inspector (e.g. RoSPA or equivalent) shall be arranged by the Contractor prior to practical completion.

5. Payment to Contractor

Payment shall be made within 31 days of:

- Satisfactory completion of works

- Receipt of valid invoice

- Acceptance of all required certification and inspection documentation

6. Drawings

Technical specifications and pictures or drawing of all new equipment plus two layout plans (Maximum size A2) must be supplied with the tender documents.

ALL PLANS TO BE TO BE SCALE (Scale clearly identified) AND AT LEAST  ONE ARIEL VIEW AND VISUALISATION TO BE REPRESENTATIVE OF THE AREA IN QUESTION.

7. Insurance Requirements

Tenderers must provide evidence of:

| Insurance Type | Minimum Cover |
| --- | --- |
| Public Liability Insurance | £10,000,000 |
| Employers Liability Insurance | £10,000,000 |

Insurance certificates must accompany the tender submission.

8. Health and Safety

The successful Contractor shall:

- Provide site-specific risk assessments and method statements

- Maintain secure working areas at all times

- Install temporary safety fencing where required

- Ensure safeguarding measures are implemented

- Comply fully with all applicable health and safety legislation.

9. Notes To Tenderers

- Prices submitted shall be exclusive of VAT and clearly identify VAT separately where applicable.

- Tenderers shall provide a detailed cost breakdown for all elements of the works.

- Tenderers are responsible for obtaining all information necessary for preparing their tender.

- Clarification requests shall be directed only to the Procuring Officer identified within this ITT.

- Responses to clarification requests may be circulated anonymously to all tenderers.

- The Council reserves the right to issue supplementary documentation at any time during the tendering process to clarify any issue or amend any aspect of the ITT. All such further documentation that may be issued shall be deemed to form part of the ITT and shall supplement and/or supersede any part of the ITT to the extent indicated.

- The Council reserves the right not to accept the lowest or any tender received.

- The Council reserves the right to cancel or amend the procurement process at any stage.

- The successful tender submission, together with the Council’s written acceptance, shall form a binding contract.

## 10. Freedom of information act and environmental information

## statement

The Council is subject to:

- The Freedom of Information Act 2000; and

- The Environmental Information Regulations 2004.

Tenderers should clearly identify any commercially sensitive information contained within their submission and provide reasons why disclosure may prejudice commercial interests.

The Council reserves the right to determine whether information is exempt from disclosure in accordance with the relevant legislation.

11.0	TENDER EVALUATION

- Each Tender will be checked initially for compliance with all requirements of the invitation to tender.

- Tenders will be evaluated against the award criteria set out below.

- During the evaluation period, the Council reserves the right to seek clarification in writing or by means of a clarification meeting from any or all of the Tenderers, to assist it in its consideration of their Tenders.

- The Council may decide to interview Tenderers or hold clarification meetings to assist its tendering process, and Tenderers will be notified in due course.

| Criteria | Possible Score |
| --- | --- |
| Price/value for money | Max 30% |
| Quality, design and inclusivity | Max 25% |
| Safety and compliance | Max 15% |
| Experience and references | Max 10% |
| Maintenance, aftercare and warranty | Max 5% |
| Programme Delivery | Max 10% |
| Environmental impact | Max 5% |
| Total Score |  |

Attachments

- Attachment A – Proposed Layout and Fence Line Plan

- Tender Form